GROSSMONT COLLEGE

Official Course Outline

CARDIOVASCULAR TECHNOLOGY 233 – CLINICAL PRACTICUM II, VASCULAR TECHNOLOGY

1.	Course Number	Course Title	Semester Units	Semester Hours

CVTE 233	Clinical Practicum II,		5	15 hours laboratory

Vascular Technology

2.	Course Prerequisites

A “C” grade or higher in CVTE 123.

Corequisite

CVTE 223.

Recommended Preparation

None.

3.	Catalog Description

A laboratory course providing clinical practicum with emphasis on the calibration and operation of medical instrumentation used in the Vascular Labs in local hospitals and clinics with which the CVT Program is affiliated.  The performance of specified diagnostic tests, calculation of hemodynamic data, and professional performance in the clinical environment will be stressed.

4.	Course Objectives

The student will:

a.	Set up, calibrate, and operate duplex ultrasonic imagers and peripheral vascular Doppler/pressure 	instruments in accordance with manufactures’ specifications and criteria specified by the instructor.

b.	Execute arterial and venous imaging, photoplethysmography, and segmental blood pressure 				measurements in accordance with criteria specified by the Society of Vascular Ultrasound, the course 			texts, and the instructor.

c.	Record, measure, and calculate specified hemodynamic indices for evaluation of the vascular system 	in accordance with criteria established by the course texts and the instructor.

d.	Access qualitative analysis of duplex ultrasound images and Doppler waveforms for the detection of 	abnormal blood flow in accordance with criteria established by the course text and the instructor.

5.	Instructional Facilities

Vascular Labs in local hospitals and clinics.

6.	Special Materials Required of Student

a.	Grossmont College issued picture identification.

b.	Basic calculator (not on phone).

c.	Lab coat with student patch.

CARDIOVASCULAR TECHNOLOGY 233 – CLINICAL PRACTICUM II, VASCULAR TECHNOLOGY																Page 2

7.	Course Content

a.	Each Vascular Technology student will spend an average of 15 hours per week in the clinical environment.

b.	Students will perform or assist in the performance of specified diagnostic tests for the detection of vascular disease.

c.	Students participate fully in the day-to-day activities of the department to which they are assigned.

d.	This course provides the opportunity to use state-of-the-art instrumentation in the assessment of a typical patient population as seen in a modern vascular diagnostic center.

e.	Students rotate through a minimum of two clinical sites per semester in order to assure maximum exposure to a wide array of instrumentation and patient pathology.

8.	Method of Instruction

a.	Supervised clinical experience by preceptors who are technologists specializing in vascular 	technology.

b.	The CVT Program instructors will provide oversight.

9.	Methods of Evaluating Student Performance

a.	The student will be scheduled for 240 hours of clinical experience in the fall semester.

b.	Students’ submission of a weekly Clinical Log Sheet which includes times in and out, a description of 	the cases in which the student is involved, the percentage to which they were involved in each case, 	and the daily and weekly totals of hours.

c.	A final evaluation of the student’s performance will be written by their clinical proctor and assessed 	by the instructor.

10.	Outside Class Assignments

a.	Weekly clinical log sheets.

b.	Written case reports.

11.	Texts

a. 	Required texts:

Ridgway, Donald P. Introduction to Vascular Scanning.  Pasadena, CA:  Davies, 4th Edition. 2012.

b.	Supplementary texts or workbooks:

None.

Addendum: Student Learning Outcomes

Upon completion of this course, students will be able to do the following:

a.	Exhibit the appropriate and expected professional relationships between the Cardiovascular Technologist, the patient, the physician and other members of the healthcare team.

b.	Practice in the fundamental operations of a Vascular Laboratory associated with vascular duplex imaging and Doppler interrogation of the vascular system.

c.	Demonstrate and differentiate vascular technology skills consistent with current level of instruction.

Date approved by the Governing Board:  May 20, 2014